## Slide 1
In recent years, more and more industrial control systems, which were created before the Internet era, are connected to the network. It becomes very crucial for us to understand, analyze and improve the security of these industrial control systems when they are connected to the network. As the core in an industrial control system, programmable logic controllers (PLCs) are controlling the industrial process given some inputs.
In this project, we investigate the attacking scenario that the malicious adversaries are connected in the network, and submit any malicious logic to the PLCs to generate some wrong outputs from the PLCs to further hurt the industrial processes. We suggest to use stealthy logging mechanism in this scenario to send the status of the PLCs to a central monitoring server in a secure and stealthy way periodically. This method can verify the integrity of the log and the adversary is not able figure out whether he gets caught or not. After an intrusion is detected, the server will restart the infected PLCs with a known clean state. This will carry on the normal operation of the industrial processes.
1. INTRODUCTION
3. CONCLUSION
The security of embedded systems can be greatly improved by using simple and practical techniques. This vision has been published in Circuit Cellar Magazine, issue # 297, p. 80, April 2015
REFERENCES
[1] Bowers, Kevin D., et al. "Pillarbox: Combating next-generation malware with fast forward-secure logging." International Workshop on Recent Advances in Intrusion Detection. Springer, Cham, 2014.
[2] ???
2. SnapShotter
Our defense mechanism can be summarized in security related information gathering and secure logging, sending the logs to a server for the purpose of analysis, incident identification and taking effective actions by the server to foil such incidents:
Each PLC device is required to run a light weight SnapShotter agent that periodically reports the device status back to the server
The server verifies the received log and the operation integrity
If the received log is tampered or the operation is not valid, the server raises an alarm
In case of an intrusin, the PLC device will be reset to a safe/clean state by the server
University of Connecticut
Chenglu Jin, Saeed Valizadeh, Mason Ginter, and Marten van Dijk
SnapShotter: A lightweight Intrusion Detection for PLCs
{chenglu.jin, saeed.val, mason.ginter, marten.van dijk}@uconn.edu
Lower Complexity and performance overhead
In contrast to Symbiote [1] (a piece of software injected into
the device’s firmware to detect any malicious intrusions), we exploit light weight checker agents at devices that:
Merely forward the device status to the server
All the related heavy computations are offloaded to the proxy server
Very small computational overhead in gathering and reporting critical device status messages to the server
Communication overhead can be amortized as the sensor data from the checker agents can be piggybacked to the original data messages being transferred between the device and the server
Guaranteed Reporting of Malicious Activity
We propose an additional layer of security for modern embedded devices by using PillarBox [2] that:
Keeps an obfuscated log of malicious events taking place at the device
The log is reported back to the server at pre-defined time intervals
This enables our server to act accordingly by either revoking the device from the network or by restoring it to a safe state.
PillarBox, by exploiting the concept of forward secure key generation in a novel way, enforces:
Integrity by being able to verify whether the logs at the device have been tampered with by an adversary who is in control of the device
Covertness by hiding from an attacker with access to the device whether the log reports detection of malicious behavior
SnapShotter Agent
PLC
Monitoring
Server